## BioAssay Performance and OOS
BioAssay Performance, Acceptance Criteria and OOS
Target | 100 |  | Bias Error % of Tolerance | Repeatability as % of Tolerance | Intermediate Precision as % of Tolerance | BioAssay Performance
USL | 150 | Risk Factor |  |  |  | OOS % | PPM | Yield
LSL | 50 | 99% | 2% | 41.21% | 51.52% | 0.1496% | 1495.8568 | 99.85%
Assay Bias Error at 100% Potency | 2 | 5.1517 | Target <15% | Target <50% | Target <60% | Target <0.1% | Target <100 | Target >99%
Assay Repeatability (1 stdev) | 8 |  | Ok | Ok | Ok
Assay Intermediate Precision (1 Stdev) | 10 | 0.995 |  |  |  |  | Cpk
Process Variation (without assay) | 12 |  |  |  |  | Assay Only | 1.6667 | Target <1.5
Total Potency Variation (1 stdev) | 15.6205 |  |  |  |  | Product and assay | 1.067 | Target <1.0
Assay Mean | 102
© 2016-2020 BioAssay Sciences and Thomas A. Little Consulting

## Sample Size for Reference Qual
Sample Size Calculator for a Reference Qualification
rev 1/31/2016
Alpha Error | 0.05 | Probability of not having the reference mean included in the confidence interval |  | 1.96 | 2.2281 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788 | 2.1788
Confidence Interval | 95% | Probability of the reference mean being located within the confidence interval
Assay Repeatability | 12 | Baseline assay standard deviation (repeatability) |  | 1.2816 | 1.3722 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562 | 1.3562
Beta Error | 0.1 | Probability of not being able to detect delta (change) in the reference
Power | 90% | Probability of correctly detecting delta (a change) in the reference
Delta (accuracy of the mean potency of the reference) | 12 | Accuracy with which the mean reference potency may be estimated (practical difference of interest)
D ratio (Delta/Sigma) | 1 | If D-ratio is greater than 2 the sample size will always be 5 |  | 10.5074 | 12.9623 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964 | 12.4964
One or two sided test (1,2) | 2 | If deviation in either direction is of interest use 2 and if deviation in only one direction is of interest specify 1.
Number of Determinations | 12 | Compare results with SAS/JMP | df | 10 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Confidence Interval for Reference Based on Sample Size
USL | 150
LSL | 50
Reference Mean or Geo Mean | 100
Baseline Assay Intermediate Precision | 12
Number of Determinations for new Standard | 12
Std Error for new Std | 3.4641
Lower 95% CL | 106.7896
Upper 95% CL | 93.2104
Reference 95% CL as % of Tolerance | 13.5793
© 2016 BioAssay Sciences and Thomas A. Little Consulting
Sample Size Reference
www.itl.nist.gov/div898/handbook/prc/section2/prc222.htm
www.thomaslittleconsulting.com